## Sheet1
ID | Sensor ID | Issue | Priority | Status | Assigned Engineer | Raised Date | Completed Date
1 | TT-6468A | Temperature transmitter drift detected | Medium | Pending | John Smith | 2024-06-01
2 | FT-6469A | Routine maintenance check | Low | Completed | Jane Doe | 2024-05-15 | 2024-05-20
3 | PT-6467 | Pressure sensor not responding | High | In Progress | Mike Johnson | 2024-06-10
4 | LT-6406A | Level sensor drift detected | Medium | Pending | Sarah Williams | 2024-06-15
5 | TI-B-7517 | Temperature sensor calibration drift | Medium | Pending | John Smith | 2024-06-20
6 | PIB-8322 | Pressure sensor malfunction | High | In Progress | Jane Doe | 2024-06-25
7 | TIB-9237A | Temperature sensor reading erratic | High | Pending | Mike Johnson | 2024-06-28
8 | FIB-9245A | Routine sensor cleaning | Low | Completed | Sarah Williams | 2024-05-01 | 2024-05-03
9 | PIB-9236A | Temperature sensor fouling | Medium | Completed | John Smith | 2024-04-15 | 2024-04-18
10 | TI-B-9209A | Flow sensor replacement | High | Completed | Jane Doe | 2024-03-20 | 2024-03-25